## ReadMe
Material Needed
1 | Laminar flow hood | 13 | 384WP Silicone Sealing Mats (SSM)
2 | Tissue-lyser and cold 2x24 tube rack | 14 | Wide-bore 1ml tips
3 | 4°C centrifuge for microtube and plate rotors | 15 | 15 and 50ml falcon tubes
4 | AxioObserver.D1 and IX81 Olympus microscopes | 16 | Inocullation loops
5 | CANON EOSRP. RF-M42 ring and T2-60N adapters | 17 | 20um and 40um cell strainers
6 | Light incubator. Zip seal bags (min 14x18cm) | 18 | Sterile tungsten carbide beads (3mm)
7 | Artificial Sea Water (ASW) 30% | 19 | Neodimium Magnet
8 | PES (Provasoli Enrichment Solution) | 20 | BSA 1%
9 | P300 8C and 12C MultiChannel Pipettes | 21 | PC and Flashdrive
10 | Multipipette sterile reservoirs | 22 | FIJI (imageJ 2) software
11 | P200-P1000 pipettes | 23 | Parafilm, IcePack, EtOH 70%
12 | 2ml "U" and "V" bottom tubes. | 24 | Liquid and tip discard
13 | 384 TC treated plates | 25 | Laboratory tray
SAMMBA: Seaweed Automatable Microplate Microscopy for Breeding Approaches
references
This protocol is an adaptation and miniaturization of previous published methods |  |  |  | Redmond, 2014; Bartsch, 2018, Kawai, 2005
Always wear proper personal protective equipment (PPE), including a lab coat and gloves.
Laminar-flow sterile hood are recommended to decrease bacterial contamination |  |  |  | Auld, 2020
Avoid transporting the plates directly in your hands. The heat from your hands can stress the algae. Use a tray.
384 well plates (3.65 mm² by well) require low gametophyte biomass and allow high-throughput phenotyping (HTP) by imaging. |  |  |  | Auld, 2020
384WP wells fit up to 100ul, which reduces image vignetting due to meniscus shading in bright field.
For growth curves < 40 days, 100ul filled wells can be used without signifficant salinity change
To use silicone seal mats, recommended volume is 50ul and 100ul in Deep Well 384WP
Edge effect may still be present but can be reduced by humidity controlled chambers and/or the use of Ziploc bags |  |  |  | Auld, 2020 | Huang, 2023
For deep well 384WP filled up to 100 ul with SSMs, salinity increases 25% in 4 months
ASW and PES are stored separately to minimize the risk of contamination. PES aliquot to make PEAS is 20 ul/ml
PEAS = Provasoli-Enriched Artificial Seawater: ASW + PES
For long-term storage, both DW384WP or 384WP can be used with SSM, but media renewal (Refresh) routine is recommended.
Media renewal can be made by removing 50ul, then adding of 2xPEAS, also adjusting salinity
Multiple tests can be quickly prepared using multichannel pipettes and tissue-lyser grinding
Reproducible pipetting is obtained by washing and filtering gametophytes before plating and fragmenting.
Washing gametophytes with ASW enhances fragmentation as exudated polysaccharides increase media viscosity |  |  |  | Deniaud-Bouet, 2014 ; Mazeas, 2023
ASW washing also enhances centrifugation |  |  |  | Kylin, 1913
Add 0.1% BSA to ASW to minimize attachment to plastics and clumping, Must be removed afterwards by washing with ASW
Sequential sieving reduces fragment size variation: strainers of 40μm and 20μm mesh can be mounted for single step sieving.
40 μm retains large gametophyte fragments, which are suboptimal for imaging and contribute to increased variability during pipetting.
20μm filtrate contains small cells, cell debris and contaminants.
The 40μm recovered (R40) biomass from basket can be used for other applications.
The 20μm filtrate (F20) may contain spores and chloroplasts
The sequential filtrate (20F40) is 20μm < "F" < 40μm.
Some gametophytes may die 3 days after processing. Chlorophyll fluorescence can be detected in non-viable cells.
Plate centrifugation causes accumulation of suspended gametophyte on well edges. Wait 15min before centrifugation
Check microscope manual to understand better the camera assemblings
Avoid fragmenting chlorotic (pale) gametophytes. Renew mediaat least 1 week before fragmentation.
Multichannel tips can be unaligned causing pipetting in wrong wells. Test the multichannel alignment before.

## LFH
Laminar Flow Hood Operation
Material and Equipment needed
Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel
50ml tube rack ¦ 2 ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Parafilm ¦ 2 ml U-bottom tubes (Utubes)
1.5 ml tubes ¦ P200-P1000 (multichannel)pipettes ¦ Parafilm strips ¦ Petri dish ¦ Inocullation loop
Cell strainers (20 and 40 μm) ¦ Tweezer, Scalpel, Razor Blade ¦ 1000 μl wide-bore filter tips
Steps |  | L: Laminar Flow Hood
time(min)
L | 1 | Change centrifuge rotor to the specific protocol you will perform
L | 2 | Turn the centrifuge on and pre-cool it to 4C |  | 10
L | 3 | Wipe the LFH surfaces with 70% Ethanol and paper towel
L | 4 | Turn the LFH on. Put all plastics and dry equipments inside. Spray all surfaces with EtOH 70%
L | 5 | Remove all aluminum foil and open all tips cases
L | 6 | Turn UV light on for 15 min. Put a safety warning if needed |  | 15
L | 7 | Turn off UV light. Wait 5 min to ozone disperse. |  | 5
|  |  | total | 20

## Frag-Filt
Gametophyte harvesting, fragmetation and filtration - T75 culture flasks and 100ml test tubes
Material and Equipment needed
Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel ¦ Artificial SeaWater 30% (ASW)
50ml tube rack ¦ 2ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Parafilm ¦ 2m U-bottom tubes (Utubes)
1.5ml tubes ¦ P20-P1000 pipettes ¦ Parafilm strips ¦ Petri dish ¦ Inocullation loop ¦ 100 ml test tubes
Cell strainers (20 or 40um) ¦ Tweezer, Scalpel, Razor Blade ¦ 1000 ul wide-bore filter tips ¦ BSA 0.1%
Cold TissueLyser Racks ¦ 3mm Tungsten-Carbide Beads (TCB) ¦ 2m V-bottom tubes (Vtubes)
PES (Provasoli Enrichment Solution) ¦ Neodimium magnets ¦ Marker ¦ Kim wipes ¦ Vortex
Steps |  | L: Laminar Flow Hood ¦ S: Sampling ¦ W: Washing ¦ G: Grinding ¦ F: Filtration ¦ C: Counting
time (min)
G | 1 | Put tissuelyser racks at -20C
L | 2 | Proceed with LFH protocol
F | 3 | Identify 1 set of Utubes and 1 set of Vtubes (F20) per sample.
S | 4 | Certify that cultures PEAS has been recently refreshed
S | 5 | Choose healthy and dense tufts without chlorosis (pale color).
S | 6 | If tufts are in T75 culture flasks, proceed with steps 8 to 10
S | 7 | If tufts are in test tubes, proceed with steps 11 to 16
S | 8 | Detach gametophytes with cell scraper for maximum biomass recovery.
S | 9 | Use wide-bore tips to transfer 2 mm tufts to U-bottom 2 ml tubes
S | 10 | Wipe the pipette body with ethanol before switching to a different strain.
S | 11 | For test tubes, discard media, transfer tuft with loop to a petri dish with ASW
S | 12 | Cut a 2 mm segment of the tuft and transfer to a 2 ml Utube with 1 ml of ASW
S | 13 | Return the remaining tuft to a new tube and add 80 mL of PEAS.
S | 14 | Dry the rim of the tube with kim wipes
S | 15 | Seal the tube with parafilm and mark the current date on the tube.
S | 16 | Discard loop and petri dish. Repeat for other strains.
W | 17 | Centrifuge Utubes for 2 min at 5000g and 4ºC. |  | 2
W | 18 | Remove supernatant with pipette
W | 19 | Add 100 ul of BSA to 50 ml of ASW. This is the Washing Buffer (WB)
W | 20 | Add 1 ml WB to 2 ml Utubes. Vortex 5s.
W | 21 | Centrifuge Utubes for 2 min at 5000 g and 4ºC. |  | 2
W | 22 | Remove supernatant with pipette
W | 23 | Add 1 ml WB to 2 ml Utubes. Vortex 5s.
G | 24 | Add one TCB with tweezer and place tubes in cold tissue-lyser rack
G | 25 | Agitate for 4 min at 30Hz. |  | 4
G | 26 | Remove beads with neodimium magnet, wash it with EtOH 70%.
W | 27 | Repeat steps 21-23 3x to remove cell debris.
F | 28 | Mount 40 μm filter(green) or 20 μm filter(red) on F20 or F40 tubes
F | 29 | Pipete fragmented tissue solution into filter mount
F | 30 | Add 1 ml WB to filter mount
F | 31 | Remove filter mount from tube and transfer back to previous tubes
F | 32 | Remove filter basket, invert and put it back on its frame. Dont touch sieve.
F | 33 | Pipet 1ml of WB directly on filter bottom to get unfiltered gametophytes
F | 34 | If needed, mount one filter over another to get a 20 to 40 size interval (20F40)
C | 35 | Dilute filtrate 10x with ASW in a new tube.
C | 36 | Pipette 100ul of diluted filtrate into 384WP wells
C | 37 | Proceed to imaging protocol and determine the gametophyte density |  | 10
C | 38 | Dilute it to 500 gametophytes/ml with PEAS for generic assays
|  |  | Total time | 18

## Ulva
Ulva gametogenesis induction by fragmentation
Material needed
Laminar Flow Hood (LFH) ¦ 50ml tube rack ¦ tube rack ¦ Ultrapure H2O (H2OUP) ¦ Vortex ¦ Petri Dish ¦ Paint brush ¦ Tweezers ¦
Tungsten Carbide Beads ¦ TissueLyser and cold (-20ºC) tube racks ¦ Neodimium magnet ¦ 70% Ethanol ¦ Cooled centrifuge ¦
Filtered Artificial Sea Water (ASW) ¦ 384WP ¦ Kim wipes ¦ Liquid thrash ¦ Tip thrash ¦ P20-P1000 pipettes and filter tips
Parafilm ¦ Inverted microscope ¦ Paper towel ¦ Filtered PEAS ¦ Parafilm ¦ Tube marker ¦ Scalpel + Razor Blade ¦ U-bottom 2ml tubes (Utubes)
Steps |  | L: Laminar flow ¦ D: Decontamination ¦ F: Fragmentation ¦ Post-processing: PP
time
F | 1 | Put tissuelyser racks at -20C
L | 2 | Proceed with LFH protocol
D | 3 | Certify that wild sampling has been done in the same day of processing.
| 4 | Choose healthy thalli without chlorosis (transparent).
| 5 | Put 200mg/50ml of thalli in a 50ml falcon with ultra pure water and vortex 10s
| 6 | Fast-dip the desired thalli into 2.5% bleach for 5s. Repeat step 5.
| 7 | Pour 10ml of ASW into a petri dish and transfer the washed thalli.
| 8 | Gently scrape the thalli with a scalpel in a low angle. After, change the petri dish and the razor blade. Repeat 2x.
| 9 | Using 200ul tip bottom, cut the thalli into disks. Prefer the thalli margins
F | 10 | Transfer 2 disks to Utubes filled with 500ul of WB
| 11 | Add 1 (3mm) bead and place tubes in tissue-lyser rack
| 12 | Shake for 5min at 30 Hz in cooled tissuelyser racks
| 13 | Remove beads with neodimium magnet. Wash them imediately with EtOH 70%
| 14 | Centrifuge tubes at 5000RPM for 2min. Discard supernant.
| 15 | Add 2ml of cold ASW. Vortex. Repeat 14-15 3x.
| 16 | Add ground tissue to culture flasks or plates with PEAS. Add GeO2 fo 1 week to reduce diatom growth.
PP | 17 | Optional: Add 50ul of Antibiotics Mix (50mg/ml) to reduce contamination
| 18 | Remember to clean tweezers and scalpel with ethanol and discard razor blade in appropriate thrash
| 19 | Set light-dark cycle to 8:16 (short-day), irradiance 50% (60uE) of white light and 13ºC to induce gametogenesis.
| 20 | In 2 days, cell differentiation starts in 5-10 days you may have attached germlings.
| 21 | Transfer culture flask to long day (16:8) and higher temperature (20C) incubator
| 22 | When visible, sample the gametophytes tufts and proceed with Frag-Filt, Assay and/or DTE
|  |  | Total | 0

## DTE
Dilution-to-extinction isolation in 384 well plates
Material and Equipment needed
Microscope ¦ Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel ¦ 50ml tube rack
2ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Parafilm strips ¦ MultiChannel Pipette Reservoir (MCPR)
384 well plates (384WP) ¦ Tube Marker ¦ Kim wipes ¦ Artificial SeaWater (ASW)
Ziplock bag ¦ 1,5ml tubes ¦ P20-P1000 pipettes ¦ P300 12C-multichannel pipette (MCP)
Parafilm strips ¦ 200 and 1000 ul filter tips ¦ Filtered PES (Provasoli Enrichment Solution) ¦ 24WP with lid
P: Preparation ¦ L: Laminar Flow ¦ C: Counting ¦ D: Dilution ¦ SD: Serial Dilution ¦ I: Imaging
R: Refresh ¦ T: Transfering
Steps |  |  |  | time(min)
P | 1 | If isolating from gametophytes, do the "Frag-Filt" protocol first then start on step 10
P | 2 | Choose a centrifuge rotor based on the type of tube you need to concentrate your sample.
L | 3 | Proceed with LFH protocol
C | 4 | Pipette 100 ul of the sample into at least three 384WP wells.
C | 5 | Put the lid and seal it with parafilm strips
C | 6 | Incubate the plate inside incubator for 15 min to allow gametophytes to settle randomly. |  | 15
C | 7 | Centrifuge 1min at 3700g at 4ºC. |  | 1
C | 8 | Photograph the wells and count the cells using the "Imaging" protocol
C | 9 | Calculate the concentration as units/ml
D | 10 | If a dilution curve is needed, proceed to section SD
D | 11 | Pour 40 ml of PEAS in a multichannel reservoir to make a whole plate
D | 12 | Dilute the samples to get a concentration of 5-10 units/ml of PEAS in the MCPR
D | 13 | Mix dilution at least 5x with MCP |  | 1
D | 14 | Add 100 ul PEAS in all wells always homogenizing 3x before pipetting.
D | 15 | Put plastic lid and seal with Parafilm strip.
D | 16 | Incubate the plate inside incubator for 15min to allow gametophytes to settle randomly. |  | 5
D | 17 | Weigh the plate and use a 24WP filled with water to balance the centrifuge rotor.
D | 18 | Centrifuge 1min at 3700g at 4ºC. |  | 1
D | 19 | Put the plate inside a ziplock bag and ensure its is securely sealed.
Perfom the following steps only if a Serial Dilution Curve is needed
SD | 1 | Pipette 50ul of PEAS in all wells except the first and last row
SD | 2 | Pipette 100ul of fragmented and filtered algae solution in the first row
SD | 3 | Mix 5x and transfer 50ul from first row to the lower, and mix 3x. Repeat until the last row.
SD | 4 | Put plastic lid and Isolate with 1 parafilm strip.
SD | 5 | Incubate the plate inside incubator for 15min to allow gametophytes to settle randomly.
SD | 6 | Weigh the plate and use a 24WP filled with water to balance the centrifuge rotor.
SD | 7 | Centrifuge 1 min at 3700g at 4ºC. |  | 1
SD | 8 | Put the lid back and seal it with 2 parafilm strips
SD | 9 | Put the plate inside a ziplock bag and ensure its is securely sealed.
I | 10 | Proceed with the "Imaging" protocol to detect fluorescent cells and singlet wells
R | 11 | Proceed with "Refresh" protocol every 30 days |  | 1
H | 12 | When tufts reach a visible size, proceed to "harvest" protocol
|  |  | Total | 25

## 384Assay
Generic Assay in 384 well plates
Material and Equipment needed
Microscope ¦ Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel ¦ 50ml tube rack
2ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Parafilm strips ¦ MultiChannel Pipette Reservoir (MCPR)
384 well plates (384WP) ¦ Tube Marker ¦ Kim wipes ¦ Artificial SeaWater (ASW)
Ziplock bag ¦ 1,5ml tubes ¦ P20-P1000 pipettes ¦ P300 12C-multichannel pipette (MCP)
Parafilm strips ¦ 200 and 1000 ul filter tips ¦ PES (Provasoli Enrichment Solution)
L: Laminar Flow ¦ FF: Frag-Filt ¦ C: Counting ¦ D: Dilution ¦ SD: Serial Dilution ¦ I: Imaging
R: Refresh
Steps |  |  |  | time(min)
L | 1 | Proceed with LFH protocol changing centrifuge rotor to microtubes
FF | 2 | Perform the "Frag-Filt" protocol using 1 1mm tuft to make few wells of a 384WP
C | 3 | Pipette 100 ul of the sample into three 384WP wells. Use outer ring wells.
C | 4 | Put the lid over and seal the plate with parafilm strips
C | 5 | Incubate the plate inside incubator for 15 min to allow gametophytes to settle randomly. |  | 15
C | 6 | Photograph the wells and count the spores using the "Imaging" protocol
C | 7 | Take photos to PC and proceed with "Labkit" protocol
C | 8 | Calculate the fragment density as units/ml
D | 9 | Fill wells from columns 1,2,23 and 24 with 100ul of ASW.
D | 10 | Pour 3ml of PEAS in a multichannel reservoir. Dead volume is 1 ml
D | 11 | Dilute the samples to get a concentration of 240 fragments/ml of PEAS in the MCPR (24/well)
D | 12 | Mix dilution at least 5x with MCP |  | 1
D | 13 | Add 100 ul PEAS in well per column (12 rows) always homogenizing 3x before pipetting.
D | 14 | Repeat 9-12 in a new MCPR for a new strain
D | 15 | Cover plate with plastic lid and seal with Parafilm strip.
D | 16 | Incubate the plate inside incubator for 15min to allow gametophytes to settle randomly. |  | 15
D | 17 | Centrifuge 1min at 3700g at 4ºC. |  | 1
D | 18 | Put the plate inside a ziplock bag and ensure its is securely sealed.
I | 19 | Proceed with the "Imaging" protocol to detect fragments size
R | 20 | Proceed with "Refresh" protocol every 30 days if needed |  | 1
|  |  | Total | 33

## Imaging
IMAGING
Material and Equipment needed
Inverted microscope ¦ Power Supply ¦ HDMI cable ¦ Remote Shutter ¦ MicroSD card ¦ LapTop ¦ ImageJ software
Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Kim wipes ¦ Parafilm strips
Steps |  | S: SSM removal ¦ C: Camera Set ¦ MS: Manual Screening ¦ SSM: Silicone Seal Mat ¦ Tray
time
P | 1 | Remove the plate from the incubator. Remove the ziplock bag and transport it in a tray.
P | 2 | Centrifuge the 384WP at 3700g at 4ºC for 1 min.
S | 3 | Proceed with LFH protocol
S | 4 | If imaging plates without SSMs, jump to step 7. If not, it must be carefully removed before imaging.
S | 5 | Carefully remove the SSM by pulling it upwards smoothly from lower right corner.
S | 6 | Put plastic lid back and seal it with 2 Parafilm strips
S | 7 | Leave SSM inside LFH, ensuring it's teeth are facing upwards to minimize risk of contamination. Ideally, cover it.
C | 8 | Wipe the bottom of the plate with EtOH70% and KimWipes. Remove excess.
C | 9 | Follow EOSRP protocol to setup microscope and camera
C | 10 | For faster screening a whole 384WP use 5x objective (only on Full Frame cameras)
C | 11 | Position plate on well A3 and align well margins to screen grid. Exclude margins only in post-processing
C | 12 | Screen plate by using a meandric order (Down and right order, column-wise)
MS | 13 | Take 1 photo per well by pressing the remote shutter button
MS | 14 | For higher magnification, use 10x objective and take 12 photos (3x4) per well with ~20% overlaping
MS | 15 | Adjust focus for every well
MS | 16 | Keep notes to avoid getting lost. Browse photo gallery to check for errors on photo sequence
MS | 17 | If you can identify an error, press the erase buttom and confirm
MS | 18 | Annotate any observation important for posterior processing
MS | 19 | When finished, remove SD card and transfer the files to your PC. Proceed to LabKit protocol
SSM | 20 | Put the SSM back and certify that all wells are covered and firmily fit. Use a roller or a paddle.
SSM | 21 | Put the lid back and seal it with 2 parafilm strips
SSM | 22 | Put the plate inside a ziplock bag and ensure its is securely sealed.
|  |  | Total | 0

## EOSRP-D1
CANON EOS RP operation in Zeiss
Steps |  | M: Microscope ¦ C: Camera
time
M | 1 | If camera-microscope is already set up, jump to step 6
| 2 | Unscrew the T2-60N adapter from microscope side port
| 3 | Screw the RF-M42 ring to the T2-60N adapter and screw it to the camera
| 4 | Conect the power supply, SD card, remote shutter and USB-C/HDMI cable to camera
| 5 | Screw the 60N adapter to 60N microscope port
| 6 | For Bright Field, set the light intesity to 35% on microscope
| 7 | For Bright Field, adjust the condenser to its minimum height (closer to plate) by rotating its knob
| 8 | For Chlorophyll Fluorescence, turn the fluorescence illuminator (e.g. HBO 100) on 1min before using.
| 9 | For Chlorophyll Fluorescence, set the light intesity on fluorescence illuminator to max
| 10 | Set side port control to completely light path to screen for better quality and ergonomics.
| 11 | Set desired filter by using lower buttons on control ring. For chlorophyll autofluorescence, set Filter Set 00 (PI)
| 12 | Tap RL button (lower right side) for switching the reflected light shutter (fluorescence) on and off
C | 13 | Turn camera on. If camera has been used before, jump to step 17
| 14 | Set camera mode dial to manual
| 15 | Set on custom settings to C.Fn III-7: "Release shutter w/o lens"
| 16 | Turn-off image review on Menu 1 > image review [Off]
| 17 | For Bright Field, set ISO to 400 and exposure to 1/30 on camera.
| 18 | For Fluorescence, set ISO to 400 and exposure to 0.5" on camera. Certify that transmited light is off (TL button)
| 19 | Set Menu (left side) > File numbering > Manual Reset > Ok. Repeat this for every plate.
| 20 | Turn off room light to reduce backgroun.
| 21 | Go back to Imaging protocol step 10

## IX81
Automated plate Screening in IX81 Olympus Microscope
Steps
time
M | 1 | Certify that all plugs are connected to the outlets
| 2 | Turn microscope and PC on
| 3 | Turn Hammatsu camera on. Certify that the slider is redirecting the images to it.
| 4 | Log in and open the CellSens Dimension software. Make sure there is no sample on the stage. Do the recalibration.
| 5 | Carefully load sample on stage
| 6 | In "Well Navigator" load the plate template. Check if selected wells are the one you need to be screened
| 7 | In "Process Manager" load the "Process definition" file
| 8 | In "Aquisition Settings", change the output to a specific folder. Check "Close after Save", Uncheck "Create subdirectory".
| 9 | Hit start. Wait until the total time is displayed in the bottom of the screen.
| 10 | It may take up to 30h to finish a whole plate.
| 11 | Transfer images to a flash-drive, or batch transfer by bash (next step). If not, proceed to Labkit protocol
| 12 | Click on right button of mouse and open the directory in terminal
| 13 | Type "ssh user@10.36.4.9" (check ip) to access PC (or cluster) to process images.
| 14 | Type password
| 15 | type cd "/media/Disk1/your folder" to access your folder. Certify mknewf.sh script is already in your folder.
| 16 | type bash mknewf.sh "current date" "current plate". Repeat for other dates and/or plates
| 17 | type "logout" to return to the microscope PC. Go to your upper plate folder
| 18 | Type: scp * -r "user@10.36.4.9:/media/Disk1/your.folder/plate/".
| 19 | Type password.
| 20 | This will transfer all files to the PC using same structure of folders and subfolders. Proceed to Labkit protocol

## Harvest
Harvesting Isolated Strains in 384 well plates
Material and Equipment needed
Microscope ¦ Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel ¦ 50ml tube rack
2ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Parafilm strips ¦ MultiChannel Pipette Reservoir (MCPR)
384 well plates (384WP) ¦ Tube Marker ¦ Kim wipes ¦ Artificial SeaWater (ASW)
Ziplock bag ¦ 1,5ml tubes ¦ P20-P1000 pipettes ¦ P300 12C-multichannel pipette (MCP)
Parafilm strips ¦ 200 and 1000 ul filter tips ¦ PES (Provasoli Enrichment Solution) ¦ 24WP with lid
L: Laminar Flow ¦ T: Transfering
Steps |  |  |  | time(min)
L | 1 | Proceed with LFH protocol
T | 1 | Using a marker, indentify singlet wells with visible tufts previously identified.
T | 2 | Using a 10ul tip, detach the gametophyte by scraping well bottom in a circular pattern
T | 3 | Transfer the whole volume to a bigger flask with PEAS. Refresh weekly.
T | 4 | Certify the tuft was transferred by seeing it inside tube. Check if there are leftovers in the well.
T | 5 | For faster growth, transfer to a microtube and fragment (motorized grinder or tissue lyser)
T | 6 | Transfer fragmented tissue to T75 culture flask or 100ml test tubes to bulk up its biomass.
|  |  | Total | 0

## Refresh
384 well plate Media Renewal
Material and Equipment needed
Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Paper towel ¦ 50ml tube rack ¦ Liquid thrash ¦ Tip thrash ¦ Ziplock bag
1,5ml tubes ¦ P20-P1000 pipettes ¦ P300 8C-multichannel pipette (MCP) ¦ 384 well plates (384WP) ¦ MultiChannel Pipette Reservoir (MCPR)
Parafilm strips ¦ 200 and 1000 ul filter tips ¦ ¦ Silicone Sealing Mats (SSM) ¦
Artificial SeaWater (ASW) ¦ PES (Provasoli Enrichment Solution) ¦Tube Marker ¦ Kim wipes
L: Laminar Flow Hood¦ R: Renewal
Steps |  |  | time(min)
F | 1 | Proceed with LFH protocol | 10
R | 2 | Inside the LFH, process 2 plates at once for a faster process. Remove from ziplock bags.
| 3 | If not using plates with SSMs, jump to step 6. If using Deep Well 384 plates, increase volumes by 50%.
| 4 | Centrifuge the 384WP 1min at 3700g at 4ºC to spin down any droplets formed in the SSMs | 1
| 5 | Remove SSMs. Jump to step 9
| 6 | On plates without SSMs, remove 50 ul from all wells. Take care not to touch the bottom. Discard
| 7 | Always change tips when pipetting different strains or if there is contamination in some wells
| 8 | Pour 2xPEAS in a reservoir. Consider using a lower salinity ASW to equilibrate salinity if needed.
| 9 | Pipette 50ul of PEAS. Use same tips if not touching surfaces.
| 10 | Isolate lid with 1 parafilm strips | 5
| 11 | Centrifuge 1min at 3700g at 4ºC.
| 12 | On plates without SSMs, skip to step 16
| 13 | On plates with SMMs, remove 50 ul from all wells. Repeat 10 and 11. This certifies some gas exchange.
| 14 | If processing multiple plates, ensure that each SSM and lid is correctly assigned to its corresponding plate. | 1
| 15 | Put the SSM and certify that all wells are covered and firmily fit. Use a roller or a paddle.
| 16 | Put the lid back and seal it with 2 parafilm strips
| 17 | Put the plate inside a ziplock bag and ensure its is securely sealed.
| 18 | Return plate to incubator.
Total time |  |  | 17

## LabKit
LabKit model training
Material and Equipment needed
Inverted microscope ¦ NIKON camera ¦ Power Supply ¦ HDMI cable ¦ Remote Shutter ¦ MicroSD card ¦ LapTop ¦ ImageJ software
Cooled centrifuge ¦ Laminar Flow Hood (LFH) ¦ 70% Ethanol ¦ Kim wipes ¦ Parafilm strips
Steps |  | M: Model Creation ¦ S: Segmentation one image ¦ B: Batch segmentation
time
M | 1 | Open FIJI
| 2 | Drag and drop 1 image to analyze
| 3 | To create a model for a whole experiment drag random images from different days
| 4 | Using rectangle tool, select an area that covers most of the different objects present in image
| 5 | Press “CTRL + Shift + X” to to cut that region.
| 6 | Press Image > Stacks Images to Stacks. Then Image > Stacks > Make Montage. Change Scale Factor to 1. Save as zip
| 7 | On upper menu click on Plugins > LabKit > Open current image with Labkit. Choose the higher resolution.
| 8 | Using mouse scroll, increase zoom
| 9 | Use mouse right button to drag the image
| 10 | Mouse left buttom will rotate the image tridimensionally. Undo this in the upper menu View > Reset View
| 11 | Click on background and by holding “D” key, draw a line on the objects you consider background
| 12 | Use at least 10 examples of each class
| 13 | Repeat 8-12 to provide examples to the “Foreground” by drawing a line over seaweed tissue
| 14 | On left Menu click in LabKit pixel Classification. A new Menu appears
| 15 | Click on the right pointing arrow to train the classifier. Wait segmentation to occur.
| 16 | By clicking on the Eye Symbol, toggle between segmented and original image.
| 17 | Check segmentation precision. If needed, train the model again with more examples.
| 18 | On downwards pointing arrow, click on "Show segmentation Result in ImageJ"
| 19 | On imageJ main menu, click in Image > Adjust > Threshold > Apply
| 20 | On imageJ main menu, click in Analyze > Analyze Particles > Add to manager
| 21 | Select montage Image Window
| 22 | On ROI manager, click on More > Or (Combine). Yellow outlines will be drawn over original image
| 23 | Confirm again segmentation precision. If needed train model again with more examples.
| 21 | On LabKit Window, click on downwards pointing arrow, click on Save Classifier
| 22 | On LabKit Window, on main Menu, click on Labelling "Save Labelling". This can be used to modify the model if needed.
| 23 | Close the segmented image, ROI manager and LabKit windown
S | 24 | Click on previous image
| 25 | Repeat step 5
| 26 | Select the maximum resolution
| 27 | Repeat step 12
| 28 | On downwards pointing arrow, click on Open Classifier
| 29 | Load classifier you’ve just made
| 30 | Wait the segmetation to finish (Should be fast)
| 31 | On downwards pointing arrow, click on Show Segmentation Result in ImageJ
| 32 | Repeat steps 17-21. Check if model works well for all image.
| 33 | Repeat for other images of same experiment.
B | 34 | Open labkit_canon.ijm macro or labkit_zeiss.ijm accrodingly. Just draging it to FIJIs window
| 35 | Change model file name and root
| 36 | Confirm that all images are in "Raw" folder and that "Cropped" and "Segmented" folders were created
| 37 | Certificate that all images are numbered starting on "1"
| 38 | Create plate_design.csv file and confirm its path in macro. Use plate_desing.xlsx.
| 39 | Change "i" numbering from loop to process section of images
| 40 | Confirm the scaling on line 56 for images from commercial camera (non automated plate screening)
| 41 | Confirm area size threshold on line 111 (canon) and 98 (zeiss)
| 42 | Create copies of labkit_X.ijm file and use complementary "i" numbering to process more images per minute in a new FIJI window
| 43 | Use fiji.sh script to open new FIJI windows with independent threads
| 44 | Monitor RAM usage on your system monitor application

## Rprocess
1 | You have to create directories in your PC to download the outputs from fiji
Use mknewf.sh in your upper directory
Use rsync to transfer the .csv files to the "results" folder. You dont need to transfer the other files now.
Check if the file names follow date-name-well structure: "251218_img_C3_". The well ID must be the third element between underscores
In R, open the gr384_logfit_240w.R script
On line 21, adjust the plate numbering as needed. The script can process multiple plates simultaneously.
On line 24 check if the upper directory is correct
on line 34, check if the plate design file name is correct
It is essencial that the plate_design.csv is well prepared and with the same structure for all plates.
It is essencial to fill up empty cells with "NA". This facilitates R processing and reduce errors.
On line 61, change the names of the columns accordingly to your experiment metadata table
Do the same in lines 88 and 93
Select all script from line 510 to line 0. Press ctrl+enter.
A plateplot should popup on right screen with the growth curves for each plate

## scripts
name | function | code | usage | example
mknewf.sh | create "raw", "croped" and "segmented" folders at once | mkdir -p $2/$1/raw $2/$1/croped $2/$1/segmented | bash mknewf.sh "current date" "plate" | bash mknewf.sh 251117 plate62
fiji.sh | opens fiji using exclusive cores. Use when opening 6 fiji windows paralely | fiji=/home/gareth/Downloads/fiji-linux64/Fiji.app/ImageJ-linux64 | bash fiji.sh "number of cores" | bash fiji.sh 15
taskset -c $(shuf -i 0-$(($(nproc --all)-1)) -n $1 ¦ paste -sd ,) $fiji
| copy all folders from Grendel excluding some | rsync -av --exclude '*/raw/' --exclude '*/croped/' --exclude '*/segmented/zip/' gareth@10.36.4.90:/media/Disk1/brigitta/*plate* .
| copy all.csv files from an upper folder | rsync -av --exclude='*/raw/***' --exclude='*/croped/***' --include='*/' --include='*/segmented/*.csv' --exclude='*' gareth@10.36.4.90:/media/Disk1/brigitta/ .
| rename files from 1 to n | ls ¦ cat -n ¦ while read n f; do mv "$f" `printf "DSC_%04d.JPG" $n`; done
| transfer files from Grendel to your pc. | rsync -av gareth@10.36.4.90:/media/Disk1/myrsini/384plates/plate1/251118/segmented/*.csv .
| transfer the plate_design.csv file to each plate directory | scp gareth@10.36.4.90:/media/Disk1/brigitta/plate4/plate_design_vsi.csv .
| erase just a slot between underscores from all files name | for f in *_segmented_Results.csv; do mv "$f" "${f/_20251205/}"; done